## Slide 1: Self-learning MRI with MR-zero How end-to-end learning inspires sequence design Prof. Dr. Moritz Zaiss Neuroradiology, University Hospital Erlangen Department of AI in biomedical engineering

## Slide 2: Self-learning MRI MR-zero inspired by
https://the-decoder.de/googles-neue-super-ki-lernt-in-40-tagen-tausende-jahre-menschliches-wissen/
Rules
Strategy
Winning
Condition

## Slide 3: MR-zero – the big picture
https://the-decoder.de/googles-neue-super-ki-lernt-in-40-tagen-tausende-jahre-menschliches-wissen/
Move 37 of AlphaGo surprised the world's best Go players, including Lee Sedol.
"That's a very strange move, I thought it was a mistake.“
“Its not a human move, I’ve never seen a human play this move.
So beautiful. Beautiful. Beautiful.”
https://www.quora.com/What-was-the-significance-of-move-37-and-move-78-in-Go-AlphaGo-versus-Lee-Sedol
Shin et al. Proceedings of the Annual Meeting of the Cognitive Science Society, 2021 https://escholarship.org/uc/item/6q05n7pz

## Slide 4: MR-zero
MR
Loss:
+ e.g. SAR/time constraint
Bloch Equations
Target data
Contrast of interest
out
tgt
MRI
sequence
Rules
Strategy
Winning
Condition
AlphaGo Zero: Reinforcement Learning
MR-zero: supervised learning

## Slide 5: MR-zero
MR
Loss:
+ e.g. SAR/time constraint
Spin system
PD, T1, T2, T2‘, B0+χ ,B1, diffusion, …
MRI scanner
& sequence
Target data
Contrast of interest
Reconstruction
k-space to image space,
image to parametric maps
„FFT“
NN mapping
Updates Reconstruction
+ Inference
Differentiable
Bloch simulation
Updates
MR sequence
Gradient descent / Backpropagation
Differentiable Digital MR Twin
Endres J, Weinmüller S, Dang HN, Zaiss M. Phase distribution graphs (PDG) for fast, differentiable, and spatially encoded Bloch simulations of arbitrary MRI sequences. Magn Reson Med. 2024 Apr 4. doi: 10.1002/mrm.30055.
EPG: echo top
PDG: echo shape
  gradient encoding
  B0/T2*dephasing
out
tgt
KomaMRI.jl, MR-STAT, …

## Slide 6: PDG - Fast, differentiable, and spatially encoded Bloch simulations of arbitrary MRI sequences
SE-EPI
B0 distortion/ cancellation
bSSFP
stop band artifact
TSE 7T
B1 inhom. artifact
Motion artifact
mrzero-core.readthedocs.io
GRE-EPI
ghosts
FLASH
pip install MRzeroCore

## Slide 7: Task 1: re-invent encoding
Loss:
Spin system
PD, T1, T2, T2‘, B0+χ ,B1, diffusion, …
MRI scanner
& sequence
Target data
Contrast of interest
Reconstruction
k-space to image space,
image to parametric maps
FFT
Updates Reconstruction
+ Inference
Differentiable
Bloch simulation
Updates
MR sequence
Gradient descent / Backpropagation
Differentiable Digital Twin of the MRI process
Pytorch, autograd, adam optimizer, pypulseq

## Slide 8: Task 1: re-invent cartesian encoding
Re-invent MRI

## Slide 9: Task 2: arbitrary encoding
Glang et al. ISMRM 2021
Similar optimizations to
Snopy
Bjork
Pilote
Sparkling
Etc.
See Demo by Felix Glang

## Slide 10: Task 3: encoding with imperfect gradients
Loss: + k-loss
Spin system
PD, T1, T2, T2‘, B0+χ ,B1, diffusion, …
MRI scanner
& sequence
Target data
Reconstruction
k-space to image space
FFT
Differentiable
Bloch simulation
GIRF –Model
With eddy currents
and no correction:
out
tgt

## Slide 11: Task 3: encoding with imperfect gradients
Re-invent adaptive pre-emphasis
by free arbitrary gradients
Compromise quality/demand:
Less demanding solution
Broader application shorter TE, higher res, old hardware
in vitro
in vivo
in silico

## Slide 12: Task 4: TSE: same image – lower SAR
Loss: + SAR-loss
Spin system
PD, T1, T2, T2‘, B0+χ ,B1, diffusion, …
MRI scanner
& sequence
Target data
Contrast of interest
Reconstruction
k-space to image space
FFT
Differentiable
Bloch simulation
SAR: 100%
SAR: 30%
TSE
out
tgt

## Slide 13: Task 4: TSE - same image –lower SAR
Re-inventing TRAPS Hennig et al. MRM 2003

## Slide 14: Task 5: TSE - Deblurring
Spin system
PD, T1, T2, T2‘, B0+χ ,B1, diffusion, …
MRI scanner
& sequence
Target data
Contrast of interest
Reconstruction
k-space to image space,
image to parametric maps
Differentiable
Bloch simulation
FFT
DENSENET
Dang et al. MRM 2023
vFA: k-space dependent!
NN: vFA-tailored
NN dependent
Loss: + λ∙SAR + λ∙PSF
out
tgt

## Slide 15: 2D TSE - T2w at 3T - Deblurring
TSE
16-shot TSE
RARE
RARE-zero
RARE-zero
0.8 s
0.8 s
0.8 s
192 s
330 s
Dang et al. MRM 2023
„Physics-informed
vFA-tailored NN“

## Slide 16
3D TSE FLAIR vendor sequence with pTx at 7T
Standard
Trade-off-
optimization
0.7mm3
8min
https://teaching.thehumanbrain.info/neuroanatomie.php?kap=12
Dawood et al. MRM 2025
SAR
sharpness
SNR
contrast fidelity
Loss:
+ λ∙SNR + λ∙PSF + λ∙SAR

## Slide 17: Task 6: pTx TSE and DSC / DESC
Loss: + SAR-loss
Spin system
PD, T1, T2, T2‘, B0+χ ,B1+, diffusion, …
MRI scanner
& sequence
Target data
Contrast of interest
Reconstruction
k-space to image space,
image to parametric maps
FFT
Differentiable
Bloch simulation
TSE
channel-wise B1+

## Slide 18: Task 6: pTx TSE and DSC / DESC
Loss: + SAR-loss
Spin system
PD, T1, T2, T2‘, B0+χ ,B1+, diffusion, …
MRI scanner
& sequence
Target data
Contrast of interest
Reconstruction
k-space to image space,
image to parametric maps
FFT
Differentiable
Bloch simulation
TSE
channel-wise B1+
Direct encoded signal control for pTx -Weinmüller, Endres et al. ISMRM 2025

## Slide 19: Task 7: spiral TSE at 7T with DESC
Loss: + SAR-loss
Spin system
PD, T1, T2, T2‘, B0+χ ,B1, diffusion, …
MRI scanner
& sequence
Target data
Contrast of interest
Reconstruction
k-space to image space,
image to parametric maps
FFT
Differentiable
Bloch simulation
Spiral TSE
DESC
static B1 shim
channel-wise B1+
seq
from
github.com/HennigJue
mr0(seq)
optimize B1 shim for each pulse
7T spiral TSE
Weinmüller et al. ESMRMB 2025
Hennig et al. MRM 2022

## Slide 20: Task 8: FLASH – Fast low angle shot MRI
Problem: Transient signal decays is NOT Lock-Looker
Weinmüller et al. MRM 2024
Transient FLASH sequence like MPRAGE, or snapshot FLASH or LL-T1 quantification
assume exponential decay of signal to the FLASH steady state.

## Slide 21: Task 8: FLASH – Fast low angle shot MRI
Problem: Transient signal decays is NOT Lock-Looker
Weinmüller et al. MRM 2024
Even under ideal spoiling Gradient and rf spoiling with quadratic phase cycling.
And this is measurable. (Epstein et al. MRM 1996)

## Slide 22: Task 8: Epstein-Artifact in transient FLASH (FA=16°)
Simon.weinmueller@uk-erlangen.de
„Epstein Artifact“
K-space filter
Weinmüller et al. MRM 2024

## Slide 23: Task 8: 2D transient FLASH
Loss:
+ e.g. time constraint
Spin system
PD, T1, T2, T2‘, B0+χ ,B1, diffusion, …
MRI scanner
& sequence
Target data
Contrast of interest
Reconstruction
k-space to image space,
image to parametric maps
FFT
Updates Reconstruction
+ Inference
Differentiable
Bloch simulation
Updates
MR sequence
Weinmüller et al. MRM 2024

## Slide 24: Task 8: 2D transient FLASH
Loss:
+ e.g. time constraint
Spin system
PD, T1, T2, T2‘, B0+χ ,B1, diffusion, …
MRI scanner
& sequence
Target data
Contrast of interest
Reconstruction
k-space to image space,
image to parametric maps
Updates Reconstruction
+ Inference
Differentiable
Bloch simulation
Updates
MR sequence
Weinmüller et al. MRM 2024

## Slide 25: Task 8: 2D transient FLASH

## Slide 26: Task 8: Solved
Weinmüller et al. MRM 2024

## Slide 27: Conclusion
MR-zero is a flexible and general framework for learning-based end-to-end MR sequence design
Paradigm shift : Rules + Goal = Strategy
problem formulation by target image (+ λ∙x)
Inspires sequence design regarding…
  flexible compromises between quality and demand
  tailored solutions of sequence-NN-pairs
  questioning textbook knowledge like quadratic phase cycling
out
tgt
FFT
NN

## Slide 28: Self-learning MRI MR-zero inspired by
https://the-decoder.de/googles-neue-super-ki-lernt-in-40-tagen-tausende-jahre-menschliches-wissen/
MR
Super Human MRI?
Not Yet...

## Slide 29
Thank you for listening!
Thanks to my
research group!
and
Felix Glang
Daniel West
Shaihan Malik
Nam Dang
Jonathan Endres, PDG
Peter Dawood, TSE
FLASH, Simon Weinmüller
Martin Freudensprung, pTx-Pulseq

## Slide 30: We have open positions! moritz.zaiss@fau.de
mrzero-core.readthedocs.io
pip install MRzeroCore